Achieving NET ZERO in schools

| Heating | Moderate Boiler Room settings Keep doors shut in winter Insulate cavity walls and loft voids | Refinement to 7 a.m. to 2 p.m. heating and 5 days per week only to save about £4,800 for primary schools and £21,600 for secondary schools (assuming gas is at 10p per KhW (currently at 15p). These timings could reduce heating hours by 49% and gas usage by 24% Reducing the heating temperature by 1 degree centigrade can save up to 10% on heating costs. Reducing the heating time by 1 hour a day (30 mins morning and 30 mins evening) can reduce heating costs by up to 10% If the heating system is being run ineffectively, rooms can overheat and occupants open windows to reduce the temperature. Thermostatic Radiator Valves (TRVs) should be maintained so settings can be adjusted to the correct temperature. The recommended temperature for a classroom is 18 degrees. |
| --- | --- | --- |
| Lighting | Switch to LED lightbulbs Use natural sunlight Use sensors to keep lights off when not in use | Motion sensors that can be fitted to lighting systems cause the lights to come on when movement is detected. They are a good idea in cupboards and toilets where there is no natural daylight. Installing them in areas where there is natural daylight can result in lights coming on unnecessarily when there is sufficient natural daylight. If motion sensors are to be fitted a recommendation would be to fit them in conjunction with lux, or light level, sensors that will only activate the lights if the level of natural light is below a certain level. Ensure that your school has instructions for turning lights off during holidays. |
| Classroom / Office/ Staffroom Appliances | Use smart switches or connecting strips to power off IT equipment automatically or easily | School opening hours can be less than 2,000 hours per year meaning they’re unoccupied for 5,000 – 6,000 hours a year. If electrical items are left on, out of hours, this causes a major waste of energy. |
| Clothing |  | Encourage staff and pupils to wear more clothes if they’re cold rather than turning the heating up. |
| Footwear |  |  |
| Renewable Energy | Solar PV – payback in less than 2 years |  |
| Exercise | Always warms one up! |  |
|  | If you have EV chargers ensure you up the rate that you charge at! Same for lettings/ recharges |  |
| Audits | Consider audits for unnecessary energy use | - Evening/weekend checks - 24/7 time switches on devices - Pupil audits for lights left on unnecessarily - What isn’t needed to be on in evenings/weekends - Look for faults/ leaks/ breakages/ uninsulated pipework |

With prices going up the cost of leaving appliances on has almost doubled...